## Introduction
1. This file includes parameters of microgrid unit commitment (MGUC) optimization, HVAC and CLPU modelling used for the manuscript regarding: "Enhancing Microgrid Performance by Adaptive Cold Load Pickup Estimation" 2. We popolate the node load of the test system using Peacan street dataset (https://www.pecanstreet.org/), please note that you need the permission for using this dataset, that is why we cannot share the load data

## MGUC_opti
1st stage
weighting for critical load | w^(crit) | 4
weighting for load during preferred period | w^(pref) | 1.5
PV curtailment penalty coefficient | c^(pv) | 0.0001
CLPU energy consumption penalty factor | c^(clpu)_e | 0.5
CLPU peak duration penalty factor | c^(clpu)_dp | 1
CLPU remaining peak duration penalty factor | c^(clpu)_re | 1
minimum service duration | D^(MSD) | 4 steps (2 hour)
system reserve (% of served load) |  | 15%
2nd stage
PV curtailment penalty coefficient | c^(pv) | 0.0001
threshold coefficient for low-tierBESS deviation | k^(low)_2 | 5%
penalty factor of low-tier BESS deviation | c^(low)_2 | 0.9
penalty factor of high-tier BESS deviation | c^(high)_2 | 1.1
system reserve (% of served load) |  | 15%

## Temperature
1. This sheet includes the temperature of the selected 2-day outage
datetime | Outdoor Temperature (℃) | data locataion | obtained from NOAA
2015-10-01 01:00 | 26.6667 | Austin, TX
2015-10-01 02:00 | 25.5556
2015-10-01 03:00 | 25
2015-10-01 04:00 | 24.4444
2015-10-01 05:00 | 23.8889
2015-10-01 06:00 | 23.8889
2015-10-01 07:00 | 24.4444
2015-10-01 08:00 | 26.6667
2015-10-01 09:00 | 28.8889
2015-10-01 10:00 | 30.5556
2015-10-01 11:00 | 31.6667
2015-10-01 12:00 | 32.7778
2015-10-01 13:00 | 35.5556
2015-10-01 14:00 | 35
2015-10-01 15:00 | 35.5556
2015-10-01 16:00 | 35.5556
2015-10-01 17:00 | 35.5556
2015-10-01 18:00 | 33.3333
2015-10-01 19:00 | 32.2222
2015-10-01 20:00 | 31.1111
2015-10-01 21:00 | 30
2015-10-01 22:00 | 28.8889
2015-10-01 23:00 | 28.8889
2015-10-02 | 27.7778
2015-10-02 01:00 | 27.2222
2015-10-02 02:00 | 26.1111
2015-10-02 03:00 | 25.5556
2015-10-02 04:00 | 25
2015-10-02 05:00 | 25
2015-10-02 06:00 | 24.4444
2015-10-02 07:00 | 25
2015-10-02 08:00 | 27.2222
2015-10-02 09:00 | 29.4444
2015-10-02 10:00 | 30.5556
2015-10-02 11:00 | 33.3333
2015-10-02 12:00 | 35
2015-10-02 13:00 | 36.1111
2015-10-02 14:00 | 36.1111
2015-10-02 15:00 | 37.2222
2015-10-02 16:00 | 36.1111
2015-10-02 17:00 | 36.1111
2015-10-02 18:00 | 35
2015-10-02 19:00 | 33.3333
2015-10-02 20:00 | 31.6667
2015-10-02 21:00 | 30.5556
2015-10-02 22:00 | 29.4444
2015-10-02 23:00 | 28.3333
2015-10-03 | 27.2222

## HVAC_para_pecan
1. This sheet includes identified parameters of each house HVACs in the Pecan street dataset. 2. The HVAC Equivalent electric circuit model, SS-RCQ model is used, more details regarding the model can be got from: Du P, Lu N, Zhong H. Demand response in smart grids. Cham: Springer International Publishing; 2019 Jul 2. | [6 empty] | Assumption: the room temperature setpoint deadband of all HVAC is ± 0.5 °C
Indentified house HVAC model parameters using house HVAC submeter data in Pecan street dataset (2015/10/01-2015/10/02, Austin, TX)
HVAC index | Ca | Cm | R1 | R2 | Room temperature setpoint (°C) | Rated Power (kW)
1 | 451609.9705 | 993156.6829 | 0.0028874 | 0.00021173 | 26.2757 | 2.4263
2 | 462589.6939 | 806310.5524 | 0.0097817 | 0.0002663 | 20.741 | 3.1573
3 | 462589.6939 | 806310.5524 | 0.0097817 | 0.0002663 | 20.741 | 3.1573
4 | 316377.347 | 668042.3668 | 0.0097858 | 0.00021828 | 18.9717 | 2.0175
5 | 675949.9058 | 1367346.2285 | 0.013172 | 0.00013113 | 24.4213 | 3.1639
6 | 693391.4892 | 1005797.5814 | 0.0072492 | 0.00030489 | 23.703 | 1.7714
7 | 546497.9582 | 1106001.7981 | 0.0071074 | 0.00026824 | 19.5675 | 2.6021
8 | 820987.9436 | 767453.9398 | 0.015102 | 0.00034748 | 30.7098 | 0
9 | 224980.162 | 764242.986 | 0.012849 | 0.00028066 | 23.1793 | 1.4861
10 | 548301.5246 | 828247.3119 | 0.0082238 | 0.0002845 | 19.3179 | 2.3227
11 | 432093.7141 | 924884.65 | 0.00944 | 0.00028247 | 19.9579 | 2.3427
12 | 602750.9498 | 1012000.2825 | 0.013178 | 9.063e-05 | 24.2217 | 2.7081
13 | 552517.8351 | 1017587.062 | 0.0082548 | 0.00023944 | 19.487 | 2.2191
14 | 787288.2432 | 2529097.0632 | 0.012416 | 7.3441e-05 | 19.4791 | 2.5662
15 | 594477.2315 | 1083641.7949 | 0.0087777 | 0.00028475 | 21.9227 | 2.1103
16 | 486353.2701 | 1005303.8921 | 0.008464 | 0.00027007 | 20.5974 | 2.7298
17 | 473957.9258 | 1030817.2334 | 0.0087152 | 0.00031049 | 16.3821 | 2.7503
18 | 594477.2315 | 1083641.7949 | 0.0087777 | 0.00028475 | 21.9227 | 2.1103
19 | 1155910.2797 | 1910753.8025 | 0.012453 | 0.00022978 | 19.5927 | 1.9946
20 | 541868.3965 | 1204549.2591 | 0.0091805 | 0.00025361 | 22.139 | 2.6131
21 | 525638.3262 | 2571314.58 | 0.004794 | 0.00010093 | 21.4501 | 2.5288
22 | 510209.3014 | 1060928.2226 | 0.0097644 | 0.00023797 | 19.7842 | 3.2634
23 | 1092856.3726 | 2035409.4064 | 0.013604 | 0.0001244 | 26.1497 | 2.4365
24 | 540192.8175 | 1000234.4965 | 0.0069868 | 0.00027646 | 18.6837 | 2.7328
25 | 673712.666 | 1989586.7123 | 0 | 1.8786e-05 | 6.1745 | 0
26 | 490056.3417 | 1339190.2816 | 0.01483 | 0.00010042 | 26.2849 | 3.3418
27 | 507802.3659 | 1414609.5613 | 0.0070126 | 0.00023628 | 19.7351 | 2.9457
28 | 463044.8244 | 970935.9224 | 0.0087857 | 0.00026462 | 18.7286 | 2.6304
29 | 553528.4315 | 879846.527 | 0.010095 | 0.00018381 | 23.0284 | 1.8524
30 | 838547.9376 | 1608200.2297 | 0.0059488 | 0.00024011 | 21.4006 | 3.156
31 | 838547.9376 | 1608200.2297 | 0.0059488 | 0.00024011 | 21.4006 | 3.156
32 | 576428.4096 | 4238308.1742 | 0.017591 | 0.00022249 | 23.2477 | 1.7528
33 | 694316.2879 | 1408577.4367 | 0.010491 | 0.00019341 | 17.288 | 2.5438
34 | 294207.2645 | 669252.306 | 0.012871 | 0.00031139 | 19.2649 | 1.899
35 | no
36 | 400390.9255 | 873689.6987 | 0.0089988 | 0.00030637 | 20.1514 | 1.5213
37 | 360669.8467 | 799668.2728 | 0.008642 | 0.00032332 | 19.337 | 2.5195
38 | 450702.957 | 880375.6366 | 0.0087707 | 0.00027625 | 19.4584 | 2.6685
39 | 571312.2347 | 1236768.7701 | 0.0077551 | 0.00024697 | 19.9203 | 2.2757
40 | 521976.5899 | 994136.1057 | 0.008665 | 0.00025104 | 19.5541 | 2.7774
41 | 285839.6079 | 591341.7134 | 0.012245 | 0.00026368 | 18.5567 | 2.0794
42 | 488731.4504 | 774940.4079 | 0.010029 | 0.00024353 | 21.0111 | 1.979
43 | 488731.4504 | 774940.4079 | 0.010029 | 0.00024353 | 21.0111 | 1.979
44 | 350134.9117 | 650067.0713 | 0.010508 | 0.00025331 | 21.5001 | 1.8031
45 | 585613.4904 | 1151644.8515 | 0.0068603 | 0.00025588 | 20.9284 | 3.2455
46 | 424363.0188 | 1286480.2284 | 0.0083458 | 0.00024143 | 18.7764 | 2.6539
47 | 231130.1441 | 423529.1428 | 0.010922 | 0.00021563 | 22.1564 | 1.4673
48 | 353150.8515 | 819713.8082 | 0.010322 | 0.00028588 | 18.0259 | 2.3881
49 | 510103.5766 | 1109447.7953 | 0.0083237 | 0.00026195 | 20.7844 | 2.9191
50 | 585613.4904 | 1151644.8515 | 0.0068603 | 0.00025588 | 20.9284 | 3.2455
51 | 319336.194 | 600772.1236 | 0.018416 | 0.0003381 | 19.2135 | 2.0912
52 | 597851.8586 | 1127193.0261 | 0.0058522 | 0.00019859 | 19.3818 | 2.659
53 | 340143.2178 | 886913.5807 | 0.0093201 | 0.0002794 | 16.9026 | 2.2718
54 | 266897.6915 | 738622.2077 | 0.012447 | 0.00033984 | 22.4888 | 1.97
55 | 597851.8586 | 1127193.0261 | 0.0058522 | 0.00019859 | 19.3818 | 2.659
56 | 2808497.3637 | 3895564.9558 | 0.0055136 | 2.9331e-05 | 19.3881 | 3.1225
57 | 1204702.2926 | 1572636.9923 | 0.0048616 | 0.00024684 | 23.5725 | 3.4458
58 | 293479.0739 | 490352.3552 | 0.010318 | 0.00021657 | 18.5177 | 1.4016
59 | 265564.8581 | 677902.2226 | 0.012773 | 0.00035877 | 18.8932 | 1.9602
60 | 474798.8616 | 1092008.2039 | 0.010649 | 0.00022752 | 22.5594 | 3.1418
61 | 256249.4648 | 69196.6213 | 0.023648 | 0.00011402 | 16.9604 | 0.76639
62 | 466463.775 | 1078850.4009 | 0.0077719 | 0.00023701 | 19.731 | 2.7656
63 | 466463.775 | 1078850.4009 | 0.0077719 | 0.00023701 | 19.731 | 2.7656
64 | 439158.6955 | 1491745.9783 | 0.00090724 | 0.00016086 | 26.2434 | 0
65 | 580575.3714 | 1253325.9834 | 0.006151 | 0.00026407 | 17.7803 | 2.0751
66 | 437514.8222 | 1380472.8958 | 0.0078268 | 0.00010392 | 18.8393 | 3.416
67 | 279146.147 | 371465.3173 | 0.014259 | 0.00029139 | 22.4836 | 1.5838
68 | 252788.3017 | 1108401.0645 | 0.014006 | 0.00032723 | 23.1008 | 2.476
69 | 441337.245 | 754422.3387 | 0.013228 | 0.00031481 | 18.9535 | 2.4151
70 | 441337.245 | 754422.3387 | 0.013228 | 0.00031481 | 18.9535 | 2.4151
71 | 712078.6974 | 703108.1885 | 0.0067919 | 0.00021617 | 18.5089 | 2.4693
72 | 331068.7217 | 266365.8277 | 0.0048922 | 1.0199e-05 | 34.9741 | 0
73 | 422304.1273 | 827702.628 | 0.011156 | 0.00024963 | 20.8387 | 2.3019
74 | 198088.69 | 193325.0845 | 0.029978 | 0.00061437 | 25.6456 | 0.68002
75 | 628537.3389 | 1182385.2084 | 0.0091689 | 0.00027779 | 23.3294 | 3.2355
76 | 434868.3859 | 876957.7132 | 0.0074885 | 0.00026542 | 18.8676 | 2.5981
77 | 694873.7444 | 917704.0319 | 0.011161 | 0.00017672 | 20.858 | 3.1894
78 | 664350.9234 | 1611620.8297 | 0.0075095 | 0.00058713 | 23.8151 | 1.474
79 | 979501.0332 | 1772309.3522 | 0.0049004 | 0.00012073 | 23.9638 | 2.7398
80 | 991512.4224 | 996110.1782 | 0.0051253 | 0.0001216 | 17.1078 | 3.9682
81 | 177867.8398 | 621117.1001 | 0.0068661 | 0.00036838 | 21.8447 | 1.8964
82 | 422304.1273 | 827702.628 | 0.011156 | 0.00024963 | 20.8387 | 2.3019
83 | 568468.7255 | 231468.3015 | 0.010372 | 0.00024748 | 24.932 | 2.3585
84 | 466256.863 | 995222.1747 | 0.0089799 | 0.00028238 | 20.0681 | 2.4912
85 | 461759.6034 | 946771.8543 | 0.0090945 | 0.00026243 | 19.5489 | 2.2154
86 | 508464.4747 | 836423.7863 | 0.010424 | 0.00023176 | 20.9377 | 1.4039
87 | 816170.1024 | 1395558.4343 | 0.0095113 | 0.00014336 | 21.5693 | 2.6947
88 | 2808497.3637 | 3895564.9558 | 0.0055136 | 2.9331e-05 | 19.3881 | 3.1225
89 | no
90 | 642895.9347 | 986904.0373 | 0.0090514 | 0.00024847 | 21.3214 | 2.9068
91 | 642895.9347 | 986904.0373 | 0.0090514 | 0.00024847 | 21.3214 | 2.9068
92 | 437514.8222 | 1380472.8958 | 0.0078268 | 0.00010392 | 18.8393 | 3.416
93 | 336823.7142 | 373537.6371 | 0.015178 | 0.000293 | 17.829 | 1.5805
94 | 560219.3072 | 1214171.3292 | 0.0082813 | 0.00026128 | 17.5016 | 2.3948
95 | 604639.5791 | 1091190.5038 | 0.0079707 | 0.0001832 | 26.1754 | 1.1826
96 | 511432.6219 | 563716.0457 | 0.012219 | 0.00039484 | 27.7806 | 1.0857
97 | 525964.6203 | 1073257.1703 | 0.0090062 | 0.00025857 | 19.6428 | 2.7879
98 | no
99 | no
100 | 221404.2262 | 1895075.2902 | 0.009973 | 0.00030091 | 25.4905 | 1.5152
101 | 537325.0091 | 1050504.8257 | 0.0069728 | 0.00020948 | 21.8835 | 2.7487
102 | 2553607.984 | 2414040.6441 | 0.0083446 | 0.00039769 | 14.0021 | 2.207
103 | 2382661.2834 | 278401.5127 | 0.03141 | 0.00048433 | 24.5291 | 1.5201
104 | 500187.4418 | 1018737.4351 | 0.0084885 | 0.00023589 | 19.4835 | 3.0988
105 | 752169.6845 | 1203430.1152 | 0.0041664 | 0.00015389 | 21.6275 | 2.5987
106 | 500187.4418 | 1018737.4351 | 0.0084885 | 0.00023589 | 19.4835 | 3.0988
107 | 991512.4224 | 996110.1782 | 0.0051253 | 0.0001216 | 17.1078 | 3.9682
108 | 489280.0625 | 1078048.7224 | 0.0078282 | 0.00023515 | 19.4607 | 1.7377
109 | 334826.093 | 904327.2222 | 0.009805 | 0.00030831 | 20.2649 | 2.5975
110 | 334826.093 | 904327.2222 | 0.009805 | 0.00030831 | 20.2649 | 2.5975
111 | 623355.2522 | 1529860.1039 | 0.0041982 | 0.00016015 | 23.7856 | 2.5226
112 | 623355.2522 | 1529860.1039 | 0.0041982 | 0.00016015 | 23.7856 | 2.5226
113 | 629577.3609 | 1431420.8211 | 0.010766 | 0.00020219 | 19.5988 | 1.5339
114 | 610248.5188 | 1263557.4308 | 0.010673 | 0.00024887 | 20.3983 | 3.2558
115 | 297124.551 | 415280.0225 | 0.014407 | 0.00035619 | 21.2937 | 1.3024
116 | 2316517.3655 | 2721259.3626 | 0.0092102 | 0.00023606 | 22.0994 | 2.7314
117 | 610248.5188 | 1263557.4308 | 0.010673 | 0.00024887 | 20.3983 | 3.2558
118 | 443588.5723 | 888240.4075 | 0.008359 | 0.00027478 | 19.7049 | 2.709
119 | 542112.6318 | 1251643.0597 | 0.0068458 | 0.00021344 | 20.6102 | 3.221
120 | 688635.219 | 1492948.2825 | 0.010857 | 0.00015098 | 20.9176 | 3.2075
121 | 688635.219 | 1492948.2825 | 0.010857 | 0.00015098 | 20.9176 | 3.2075
122 | 2481044.9652 | 5769999.8725 | 0.0096461 | 0.0002788 | 15.0923 | 3.7437
123 | 508764.4475 | 994232.6574 | 0.0082996 | 0.00025415 | 20.9966 | 2.4257
124 | 336690.9698 | 691788.8025 | 0.010212 | 0.00031529 | 21.2583 | 2.3236
125 | 165378.6434 | 484732.3402 | 0.012492 | 0.00032222 | 21.6797 | 1.5721
126 | no
127 | 732282.1095 | 782165.146 | 0.0083271 | 0.00023359 | 19.7241 | 3.1421
128 | 210733.9905 | 443212.9434 | 0.015548 | 0.00032456 | 22.3457 | 1.657
129 | 739977.0491 | 1591975.4109 | 0.010822 | 0.00012084 | 23.386 | 2.5908
130 | 477101.4186 | 1053104.9768 | 0.0086137 | 0.0002536 | 19.6904 | 2.4047
131 | 466000.6076 | 1328458.8061 | 0.0072459 | 0.0002253 | 18.1004 | 3.0105
132 | 484972.3133 | 1032357.3239 | 0.0084858 | 0.00023862 | 19.6051 | 2.4815
133 | 346330.8822 | 680704.8331 | 0.010504 | 0.00033595 | 21.2126 | 2.3403
134 | 448107.5537 | 894533.0208 | 0.0091137 | 0.00026329 | 18.9248 | 2.6594
135 | 718327.5376 | 1372424.836 | 0.013449 | 0.00038685 | 26.4017 | 1.8728
136 | 673837.6716 | 1476605.2697 | 0.0043591 | 0.00016014 | 23.7653 | 2.6765
137 | 551722.9212 | 1009430.3706 | 0.010406 | 0.00021917 | 22.3787 | 2.6916
138 | 469023.5316 | 948125.6337 | 0.0092095 | 0.00028162 | 20.008 | 2.6972
139 | 458880.5239 | 963946.3119 | 0.0078319 | 0.00028141 | 19.4553 | 3.0987
140 | 375598.6412 | 604006.3533 | 0.01129 | 0.00031079 | 21.9282 | 2.413
141 | 483017.5096 | 974527.0586 | 0.0092676 | 0.00027415 | 18.7654 | 2.4594
142 | 605040.1885 | 1240617.1198 | 0.011754 | 0.00020525 | 24.3399 | 4.4725
143 | 605040.1885 | 1240617.1198 | 0.011754 | 0.00020525 | 24.3399 | 4.4725
144 | 1005040.919 | 2100592.4207 | 0.0062597 | 0.00022011 | 24.1746 | 2.1064
145 | 611513.0101 | 1193640.9439 | 0.011145 | 0.00017261 | 20.0757 | 3.8457
146 | 174080.8564 | 387120.413 | 0.013696 | 0.00037996 | 24.4172 | 1.1308
147 | 543817.5098 | 981167.7897 | 0.0095599 | 0.00023321 | 20.5323 | 3.1634
148 | 423515.2834 | 365648.3133 | 0.013379 | 0.0001658 | 20.3559 | 1.5534

## Selected_HVAC_IEEE123
1. This sheet includes the selected HVACs of each load node in the modified IEEE123 test system. 2. As introduced in: Hu, Rongxing, et al. "A load switching group based feeder-level microgrid energy management algorithm for service restoration in power distribution system." 2021 IEEE Power & Energy Society General Meeting (PESGM). IEEE, 2021. We populate the load of each node by selecting the house load from the peacn street dataset randomly until the load peak is just more than 110% of node load in the original IEEE123 system, Correspondingly, we obtain which HVACs (house) are selected for each node, and we also get the baseload (non-HVAC load).
IEEE 123 system |  | 1100 HVACs used in the system
Node | Phase | house/HVAC index (sheet "HVAC_para_pecan") for each load node
1 | 1 | 13 | 119 | 75 | 69 | 54 | 6 | 79 | 111 | 79 | 58 | 96 | 132 | 54 | 47
2 | 2 | 8 | 83 | 33 | 144 | 48 | 70 | 117 | 84 | 48
4 | 3 | 11 | 25 | 41 | 107 | 32 | 107 | 17 | 68 | 146 | 101 | 104 | 68
5 | 3 | 8 | 84 | 65 | 90 | 3 | 70 | 82 | 67 | 147
6 | 3 | 12 | 128 | 15 | 83 | 105 | 142 | 41 | 6 | 106 | 90 | 61 | 54 | 72
7 | 1 | 5 | 106 | 64 | 92 | 109 | 105
9 | 1 | 11 | 76 | 15 | 83 | 39 | 17 | 98 | 74 | 26 | 78 | 1 | 100
10 | 1 | 6 | 100 | 65 | 42 | 56 | 92 | 126
11 | 1 | 17 | 133 | 91 | 23 | 128 | 86 | 103 | 70 | 54 | 52 | 67 | 14 | 62 | 130 | 3 | 12 | 54 | 131
12 | 2 | 7 | 14 | 97 | 16 | 54 | 8 | 59 | 11
16 | 3 | 16 | 99 | 51 | 52 | 44 | 70 | 126 | 105 | 133 | 7 | 133 | 79 | 99 | 18 | 13 | 55 | 86
17 | 3 | 3 | 94 | 27 | 80
19 | 1 | 11 | 76 | 3 | 138 | 127 | 60 | 10 | 3 | 68 | 21 | 7 | 57
20 | 1 | 11 | 39 | 131 | 60 | 138 | 132 | 104 | 61 | 88 | 55 | 88 | 77
22 | 2 | 8 | 69 | 90 | 106 | 105 | 143 | 7 | 61 | 92
24 | 3 | 8 | 145 | 25 | 52 | 99 | 12 | 68 | 49 | 80
28 | 1 | 12 | 118 | 37 | 97 | 67 | 13 | 28 | 147 | 41 | 140 | 119 | 52 | 78
29 | 1 | 11 | 27 | 32 | 113 | 92 | 50 | 125 | 44 | 136 | 107 | 41 | 58
30 | 3 | 14 | 125 | 93 | 111 | 1 | 148 | 87 | 116 | 66 | 37 | 110 | 44 | 126 | 13 | 131
31 | 3 | 6 | 53 | 57 | 65 | 63 | 60 | 21
32 | 3 | 3 | 11 | 145 | 57
33 | 1 | 9 | 94 | 43 | 115 | 27 | 98 | 16 | 129 | 92 | 109
34 | 3 | 11 | 120 | 132 | 75 | 109 | 143 | 32 | 41 | 47 | 48 | 144 | 71
35 | 1 | 11 | 17 | 24 | 20 | 132 | 56 | 91 | 46 | 41 | 92 | 46 | 125
37 | 1 | 7 | 72 | 145 | 98 | 107 | 136 | 146 | 65
38 | 2 | 5 | 141 | 140 | 128 | 68 | 43
39 | 2 | 7 | 93 | 139 | 90 | 79 | 54 | 19 | 92
41 | 3 | 7 | 66 | 126 | 105 | 126 | 115 | 89 | 30
42 | 1 | 3 | 20 | 145 | 104
43 | 2 | 12 | 10 | 46 | 125 | 141 | 60 | 76 | 97 | 3 | 141 | 40 | 103 | 49
45 | 1 | 4 | 98 | 22 | 96 | 56
46 | 1 | 7 | 120 | 13 | 53 | 7 | 57 | 59 | 91
47 | 1 | 10 | 25 | 143 | 32 | 18 | 54 | 123 | 130 | 79 | 28 | 27
47 | 2 | 10 | 106 | 56 | 66 | 85 | 11 | 48 | 53 | 142 | 7 | 135
47 | 3 | 13 | 58 | 38 | 31 | 65 | 85 | 100 | 147 | 128 | 31 | 93 | 112 | 41 | 105
48 | 1 | 21 | 69 | 12 | 34 | 65 | 22 | 4 | 139 | 79 | 106 | 69 | 97 | 41 | 29 | 42 | 92 | 8 | 85 | 60 | 50 | 11 | 69
48 | 2 | 20 | 80 | 29 | 6 | 70 | 44 | 106 | 66 | 67 | 1 | 94 | 3 | 133 | 123 | 29 | 45 | 86 | 87 | 28 | 90 | 114
48 | 3 | 19 | 39 | 40 | 33 | 119 | 94 | 146 | 77 | 27 | 32 | 7 | 25 | 71 | 41 | 82 | 30 | 101 | 4 | 1 | 116
49 | 1 | 9 | 44 | 142 | 30 | 30 | 58 | 101 | 18 | 48 | 117
49 | 2 | 18 | 14 | 147 | 57 | 107 | 89 | 135 | 51 | 110 | 92 | 102 | 36 | 143 | 5 | 133 | 22 | 44 | 73 | 39
49 | 3 | 8 | 8 | 140 | 94 | 52 | 116 | 72 | 40 | 142
50 | 3 | 10 | 81 | 8 | 120 | 22 | 104 | 15 | 142 | 137 | 107 | 81
51 | 1 | 8 | 147 | 115 | 29 | 15 | 120 | 120 | 91 | 122
52 | 1 | 11 | 65 | 100 | 7 | 77 | 46 | 100 | 46 | 13 | 44 | 74 | 142
53 | 1 | 13 | 13 | 5 | 46 | 34 | 40 | 47 | 72 | 85 | 53 | 112 | 111 | 53 | 123
55 | 1 | 5 | 115 | 56 | 61 | 83 | 55
56 | 2 | 7 | 81 | 65 | 19 | 19 | 15 | 20 | 38
58 | 2 | 5 | 18 | 142 | 10 | 11 | 6
59 | 2 | 6 | 102 | 114 | 41 | 101 | 41 | 97
60 | 1 | 5 | 114 | 6 | 61 | 63 | 88
62 | 3 | 11 | 127 | 20 | 57 | 84 | 20 | 86 | 44 | 11 | 71 | 45 | 145
63 | 1 | 10 | 55 | 26 | 122 | 50 | 17 | 62 | 15 | 129 | 15 | 125
64 | 2 | 22 | 65 | 77 | 55 | 99 | 63 | 56 | 79 | 36 | 42 | 57 | 99 | 124 | 133 | 115 | 60 | 40 | 20 | 131 | 18 | 28 | 30 | 73
65 | 1 | 7 | 42 | 7 | 6 | 145 | 135 | 48 | 80
65 | 2 | 9 | 137 | 111 | 92 | 61 | 76 | 44 | 3 | 107 | 143
65 | 3 | 23 | 52 | 118 | 96 | 82 | 62 | 100 | 147 | 106 | 23 | 12 | 18 | 146 | 36 | 31 | 10 | 43 | 28 | 82 | 56 | 12 | 40 | 40 | 46
66 | 3 | 19 | 122 | 7 | 52 | 101 | 19 | 141 | 123 | 77 | 77 | 106 | 114 | 78 | 131 | 141 | 47 | 87 | 8 | 129 | 113
68 | 1 | 6 | 88 | 11 | 21 | 138 | 134 | 124
69 | 1 | 12 | 25 | 69 | 106 | 108 | 12 | 112 | 110 | 130 | 8 | 128 | 63 | 98
70 | 1 | 6 | 38 | 129 | 127 | 24 | 89 | 45
71 | 1 | 12 | 16 | 1 | 3 | 38 | 112 | 100 | 94 | 55 | 50 | 95 | 20 | 92
73 | 3 | 14 | 42 | 133 | 5 | 19 | 84 | 50 | 86 | 117 | 90 | 132 | 52 | 34 | 146 | 75
74 | 3 | 12 | 122 | 91 | 83 | 132 | 25 | 96 | 99 | 125 | 129 | 103 | 147 | 57
75 | 3 | 12 | 91 | 10 | 76 | 100 | 82 | 132 | 86 | 106 | 63 | 10 | 90 | 45
76 | 1 | 25 | 27 | 53 | 148 | 88 | 120 | 116 | 141 | 116 | 77 | 145 | 65 | 143 | 84 | 20 | 6 | 48 | 66 | 53 | 72 | 5 | 121 | 28 | 115 | 106 | 1
76 | 2 | 22 | 67 | 105 | 12 | 12 | 57 | 132 | 99 | 128 | 132 | 137 | 65 | 133 | 18 | 13 | 65 | 117 | 16 | 92 | 91 | 59 | 38 | 140
76 | 3 | 23 | 101 | 26 | 42 | 67 | 89 | 19 | 5 | 44 | 125 | 112 | 124 | 47 | 120 | 108 | 126 | 110 | 46 | 99 | 32 | 42 | 12 | 99 | 66
77 | 2 | 13 | 95 | 100 | 116 | 66 | 53 | 146 | 117 | 51 | 41 | 41 | 136 | 53 | 140
79 | 1 | 11 | 121 | 120 | 91 | 13 | 50 | 103 | 76 | 94 | 99 | 3 | 6
80 | 2 | 13 | 62 | 114 | 95 | 90 | 30 | 113 | 12 | 101 | 44 | 32 | 76 | 95 | 63
82 | 1 | 12 | 37 | 148 | 106 | 44 | 93 | 29 | 124 | 97 | 127 | 130 | 72 | 143
83 | 3 | 7 | 34 | 49 | 45 | 44 | 47 | 95 | 139
84 | 3 | 5 | 119 | 143 | 65 | 70 | 119
85 | 3 | 13 | 87 | 147 | 119 | 101 | 24 | 70 | 37 | 82 | 45 | 83 | 33 | 48 | 21
86 | 2 | 5 | 2 | 111 | 123 | 64 | 26
87 | 2 | 11 | 61 | 16 | 3 | 86 | 23 | 14 | 141 | 23 | 143 | 82 | 10
88 | 1 | 11 | 114 | 59 | 100 | 33 | 124 | 56 | 84 | 94 | 47 | 27 | 92
90 | 2 | 10 | 82 | 122 | 141 | 48 | 108 | 29 | 42 | 108 | 125 | 145
92 | 3 | 12 | 63 | 37 | 87 | 29 | 33 | 141 | 95 | 9 | 80 | 83 | 28 | 122
94 | 1 | 12 | 34 | 99 | 46 | 101 | 43 | 114 | 36 | 105 | 135 | 48 | 9 | 98
95 | 2 | 8 | 23 | 29 | 102 | 85 | 128 | 13 | 135 | 27
96 | 2 | 7 | 5 | 10 | 91 | 70 | 44 | 111 | 19
98 | 1 | 10 | 56 | 92 | 17 | 130 | 21 | 69 | 89 | 8 | 120 | 36
99 | 2 | 10 | 107 | 31 | 84 | 131 | 137 | 105 | 3 | 110 | 52 | 140
100 | 3 | 11 | 102 | 129 | 25 | 10 | 78 | 120 | 41 | 30 | 36 | 8 | 145
102 | 3 | 8 | 59 | 51 | 84 | 99 | 12 | 102 | 87 | 94
103 | 3 | 9 | 56 | 28 | 7 | 63 | 103 | 71 | 98 | 108 | 127
104 | 3 | 13 | 30 | 144 | 35 | 68 | 14 | 138 | 13 | 9 | 96 | 137 | 39 | 20 | 46
106 | 2 | 10 | 126 | 63 | 34 | 49 | 37 | 92 | 19 | 94 | 77 | 57
107 | 2 | 15 | 106 | 100 | 110 | 34 | 20 | 65 | 29 | 137 | 24 | 72 | 67 | 86 | 112 | 50 | 36
109 | 1 | 12 | 128 | 135 | 89 | 147 | 63 | 20 | 28 | 93 | 143 | 118 | 79 | 111
111 | 1 | 9 | 141 | 130 | 108 | 62 | 133 | 54 | 99 | 138 | 147
112 | 1 | 5 | 129 | 64 | 50 | 92 | 78
113 | 1 | 9 | 98 | 134 | 143 | 39 | 71 | 100 | 61 | 24 | 18
114 | 1 | 7 | 90 | 13 | 35 | 59 | 29 | 19 | 122

## CLPU_para_IEEE123
1. This sheet includes parameters of the adaptive CLPU estimation model used in the paper. 2. Given that we are considering the residential load in IEEE123, We assume each load group (LG) has same CLPU characteristics as the whole IEEE123 test feeder except the group normal HVAC load. 3. These parameters in the sheet are obtained by simulations (different outage duration and different outdorrtemperatures) of all 1100 HVACs in the IEEE123 test system
| the total rating of all HVACs | the total normal load of all HVACs | The peak duration rate | the peak duration saturation | The decay rate | p.u. : normalized power based on the total rating of all HVACs
temperature (°C) | Ppeak (kW) | Pnorm (kW) | peak_dura_rate (hour/ hourly outage period ) | peak_dura_satu (hour) | decay_dura (p.u./ hourly supply period ) | Please note that parameters' values should be scaled based on the intervals you selected
| P^(MaxHVAC) | P^(steady) | tau^(Tout) | d^(peaksatu) | gamma^(Tout)
26 | 2479 | 600 | 0.06 | 0.2 | 0.88
27 | 2479 | 712 | 0.07 | 0.3 | 0.75
28 | 2479 | 815 | 0.08 | 0.4 | 0.67
29 | 2479 | 940 | 0.095 | 0.45 | 0.56
30 | 2479 | 1045 | 0.11 | 0.5 | 0.47
31 | 2479 | 1162 | 0.125 | 0.6 | 0.39
32 | 2479 | 1286 | 0.14 | 0.7 | 0.32
33 | 2479 | 1368 | 0.155 | 0.8 | 0.27
34 | 2479 | 1505 | 0.17 | 1 | 0.21
35 | 2479 | 1605 | 0.185 | 1.2 | 0.18
36 | 2479 | 1730 | 0.2 | 1.5 | 0.14
37 | 2479 | 1802 | 0.225 | 1.7 | 0.13
38 | 2479 | 1880 | 0.25 | 2 | 0.11
39 | 2479 | 1960 | 0.265 | 2.5 | 0.1
40 | 2479 | 2026 | 0.28 | 3 | 0.1